## SubscriberData_1918226483
AHRI Certified Reference Number | Old AHRI Reference Number | Model Status | Brand Name | Series Name | Model Number | Energy Source | Heater Type | Usage Bin | First Hour Rating (GPH) | Max GPM | Uniform Energy Factor | Nominal Capacity (gal) | DOE Rated Storage Volume (gal) | Input (MBtu/h) | Input (kW) | UED Recovery Efficiency, % | Labeled ENERGY STAR?
212920690 |  | Active | A. O. SMITH |  | HPTV-80 2** | Heat Pump with Tank | Storage | High Usage | 93 |  | 3 | 80 | 82 |  | 0.9 | 373 | Yes
212920698 |  | Active | A. O. SMITH |  | HPV10-80H01DV 2** | Heat Pump with Tank | Storage | High Usage | 93 |  | 3 | 80 | 82 |  | 0.9 | 373 | Yes
213826277 |  | Active | A. O. SMITH |  | HPTV-50 2** | Heat Pump with Tank | Storage | Medium Usage | 52 |  | 3 | 50 | 46 |  | 0.9 | 457 | Yes
213826283 |  | Active | A. O. SMITH |  | HPV10-50H01DV 2** | Heat Pump with Tank | Storage | Medium Usage | 52 |  | 3 | 50 | 46 |  | 0.9 | 457 | Yes
212920689 |  | Active | A. O. SMITH |  | HPTV-66 2** | Heat Pump with Tank | Storage | High Usage | 76 |  | 3.2 | 66 | 68 |  | 0.9 | 368 | Yes
212920693 |  | Active | A. O. SMITH |  | HPV10-66H01DV 2** | Heat Pump with Tank | Storage | High Usage | 76 |  | 3.2 | 66 | 68 |  | 0.9 | 368 | Yes
206428766 |  | Active | A. O. SMITH |  | FPTU-50 1** | Heat Pump with Tank | Storage | Medium Usage | 66 |  | 3.35 | 50 | 46 |  | 4.5 | 407 | Yes
206428767 |  | Active | A. O. SMITH |  | FPTU-66 1** | Heat Pump with Tank | Storage | High Usage | 79 |  | 3.42 | 66 | 67 |  | 4.5 | 265 | Yes
206851899 |  | Active | A. O. SMITH |  | HP1050H45DVCTA-1** | Heat Pump with Tank | Storage | Medium Usage | 66 |  | 3.45 | 50 | 46 |  | 4.5 | 407 | Yes
206851902 |  | Active | A. O. SMITH |  | HP1080H45DVCTA-1** | Heat Pump with Tank | Storage | High Usage | 86 |  | 3.45 | 80 | 82 |  | 4.5 | 233 | Yes
206428768 |  | Active | A. O. SMITH |  | FPTU-80 1** | Heat Pump with Tank | Storage | High Usage | 84 |  | 3.45 | 80 | 82 |  | 4.5 | 233 | Yes
206428769 |  | Active | A. O. SMITH |  | HPTU-50N 1** | Heat Pump with Tank | Storage | Medium Usage | 66 |  | 3.45 | 50 | 46 |  | 4.5 | 407 | Yes
206428770 |  | Active | A. O. SMITH |  | HPTU-66N 1** | Heat Pump with Tank | Storage | High Usage | 79 |  | 3.45 | 66 | 67 |  | 4.5 | 265 | Yes
206428771 |  | Active | A. O. SMITH |  | HPTU-80N 1** | Heat Pump with Tank | Storage | High Usage | 86 |  | 3.45 | 80 | 82 |  | 4.5 | 233 | Yes
206428785 |  | Active | A. O. SMITH |  | HP1050H45DV 1** | Heat Pump with Tank | Storage | Medium Usage | 66 |  | 3.45 | 50 | 46 |  | 4.5 | 407 | Yes
206428786 |  | Active | A. O. SMITH |  | HPTU-50DR 1** | Heat Pump with Tank | Storage | Medium Usage | 66 |  | 3.45 | 50 | 46 |  | 4.5 | 407 | Yes
206428787 |  | Active | A. O. SMITH |  | HPTU-50CTA 1** | Heat Pump with Tank | Storage | Medium Usage | 66 |  | 3.45 | 50 | 46 |  | 4.5 | 407 | Yes
206428797 |  | Active | A. O. SMITH |  | HPTU-66DR 1** | Heat Pump with Tank | Storage | High Usage | 79 |  | 3.45 | 66 | 67 |  | 4.5 | 265 | Yes
206428798 |  | Active | A. O. SMITH |  | HPTU-66CTA 1** | Heat Pump with Tank | Storage | High Usage | 79 |  | 3.45 | 66 | 67 |  | 4.5 | 265 | Yes
206428808 |  | Active | A. O. SMITH |  | HP1080H45DV 1** | Heat Pump with Tank | Storage | High Usage | 86 |  | 3.45 | 80 | 82 |  | 4.5 | 233 | Yes
206428809 |  | Active | A. O. SMITH |  | HPTU-80DR 1** | Heat Pump with Tank | Storage | High Usage | 86 |  | 3.45 | 80 | 82 |  | 4.5 | 233 | Yes
206428810 |  | Active | A. O. SMITH |  | HPTU-80CTA 1** | Heat Pump with Tank | Storage | High Usage | 86 |  | 3.45 | 80 | 82 |  | 4.5 | 233 | Yes
214091846 |  | Active | A. O. SMITH |  | HPTA-40 2** | Heat Pump with Tank | Storage | Medium Usage | 55 |  | 3.6 | 40 | 36 |  | 4.5 | 426 | Yes
214091851 |  | Active | A. O. SMITH |  | HPA10-40H45DV 2** | Heat Pump with Tank | Storage | Medium Usage | 55 |  | 3.6 | 40 | 36 |  | 4.5 | 426 | Yes
215402353 |  | Active | A. O. SMITH |  | CAHP-40 2** | Heat Pump with Tank | Storage | Medium Usage | 55 |  | 3.6 | 40 | 36 |  | 4.5 | 426 | No
214091847 |  | Active | A. O. SMITH |  | HPTA-50 2** | Heat Pump with Tank | Storage | Medium Usage | 65 |  | 3.68 | 50 | 46 |  | 4.5 | 416 | Yes
214091856 |  | Active | A. O. SMITH |  | HPA10-50H45DV 2** | Heat Pump with Tank | Storage | Medium Usage | 65 |  | 3.68 | 50 | 46 |  | 4.5 | 416 | Yes
215402362 |  | Active | A. O. SMITH |  | CAHP-50 2** | Heat Pump with Tank | Storage | Medium Usage | 65 |  | 3.68 | 50 | 46 |  | 4.5 | 416 | No
217166010 |  | Active | A. O. SMITH |  | HPSN10-66H45DV 2** | Heat Pump with Tank | Storage | High Usage | 82 |  | 3.7 | 66 | 67 |  | 4.5 | 425 | Yes
214838664 |  | Active | Bosch | GreenTronic | TR7000T - 50US | Heat Pump with Tank | Storage | Medium Usage | 69 |  | 3.75 | 50 | 47 |  | 5.5 | 430 | Yes
214838666 |  | Active | Bosch | GreenTronic | TR7000T - 50CA | Heat Pump with Tank | Storage | Medium Usage | 69 |  | 3.75 | 50 | 47 |  | 5.5 | 430 | Yes
208531033 |  | Active | A. O. SMITH |  | HPTS-50 2** | Heat Pump with Tank | Storage | Medium Usage | 65 |  | 3.8 | 50 | 46 |  | 4.5 | 452 | Yes
208531076 |  | Active | A. O. SMITH |  | HPS10-50H45DV 2** | Heat Pump with Tank | Storage | Medium Usage | 65 |  | 3.8 | 50 | 46 |  | 4.5 | 452 | Yes
217166009 |  | Active | A. O. SMITH |  | HPSN10-50H45DV 2** | Heat Pump with Tank | Storage | Medium Usage | 65 |  | 3.8 | 50 | 46 |  | 4.5 | 452 | Yes
214091858 |  | Active | A. O. SMITH |  | HPTA-66 2** | Heat Pump with Tank | Storage | High Usage | 83 |  | 3.84 | 66 | 68 |  | 4.5 | 435 | Yes
214091862 |  | Active | A. O. SMITH |  | HPA10-66H45DV 2** | Heat Pump with Tank | Storage | High Usage | 83 |  | 3.84 | 66 | 68 |  | 4.5 | 435 | Yes
215402363 |  | Active | A. O. SMITH |  | CAHP-66 2** | Heat Pump with Tank | Storage | High Usage | 83 |  | 3.84 | 66 | 68 |  | 4.5 | 435 | No
214091864 |  | Active | A. O. SMITH |  | HPTA-80 2** | Heat Pump with Tank | Storage | High Usage | 95 |  | 3.88 | 80 | 81 |  | 4.5 | 428 | Yes
214091868 |  | Active | A. O. SMITH |  | HPA10-80H45DV 2** | Heat Pump with Tank | Storage | High Usage | 95 |  | 3.88 | 80 | 81 |  | 4.5 | 428 | Yes
208531220 |  | Active | A. O. SMITH |  | HPTS-80 2** | Heat Pump with Tank | Storage | High Usage | 95 |  | 3.88 | 80 | 82 |  | 4.5 | 430 | Yes
208531263 |  | Active | A. O. SMITH |  | HPS10-80H45DV 2** | Heat Pump with Tank | Storage | High Usage | 95 |  | 3.88 | 80 | 82 |  | 4.5 | 430 | Yes
215402364 |  | Active | A. O. SMITH |  | CAHP-80 2** | Heat Pump with Tank | Storage | High Usage | 95 |  | 3.88 | 80 | 81 |  | 4.5 | 428 | No
217166011 |  | Active | A. O. SMITH |  | HPSN10-80H45DV 2** | Heat Pump with Tank | Storage | High Usage | 95 |  | 3.88 | 80 | 82 |  | 4.5 | 430 | Yes
216018258 |  | Active | Bosch |  | TR7000T-65CA | Heat Pump with Tank | Storage | High Usage | 80 |  | 3.9 | 65 | 60 |  | 5.5 | 450 | Yes
216018259 |  | Active | Bosch |  | TR7000T-65US | Heat Pump with Tank | Storage | High Usage | 80 |  | 3.9 | 65 | 60 |  | 5.5 | 450 | Yes
214838665 |  | Active | Bosch | GreenTronic | TR7000T - 80US | Heat Pump with Tank | Storage | High Usage | 91 |  | 4 | 80 | 74 |  | 5.5 | 450 | Yes
214838667 |  | Active | Bosch | GreenTronic | TR7000T - 80CA | Heat Pump with Tank | Storage | High Usage | 91 |  | 4 | 80 | 74 |  | 5.5 | 450 | Yes
208531171 |  | Active | A. O. SMITH |  | HPTS-66 2** | Heat Pump with Tank | Storage | High Usage | 82 |  | 3.70 WAS [4.02] | 66 | 67 |  | 4.5 | 425 | Yes
210605782 |  | Active | A. O. SMITH |  | HPS10-66H45DV 2** | Heat Pump with Tank | Storage | High Usage | 82 |  | 3.70 WAS [4.02] | 66 | 67 |  | 4.5 | 425 | Yes